## Sheet1
2014-09-16
ATTACHMENT B
As follow-up to the 9/16/14 Chancellor's Cabinet meeting, below is the 2014-15 Deferred Maintenance Needs list for your College.
Dr. Ikharo is asking the College Presidents to please review this list and prioritize the items by order of importance (1,2,3 etc.). There is also a section for your comments.
Rosemary will contact your office to schedule a meeting next week to discuss this list. Feel free to contact Dr. Ikharo if you have any questions.
NOTE: This list does not align with the list generated by the Laney College Facilities Planning Committee. In order to respond as scheduled, this list has been prioritized. Yet Attachment A reflects the College's actual priorities.
Laney College
College PRIORITY # 1,2, 3 etc. | DGS Priority | Bldg | Area | Concern | LANEY Priority #1 | DISTRICT Priority #1 | Priority #2 | Priority #3 | Other | COLLEGE COMMENTS
? |  | (DGS added) | Elect. | Misc. electrical and light repairs | 25000 |  |  |  |  | In progress per DGS
1 | 2 | A | Plumbing | Repair floor drain for photo lab | 4500 |  | 4500
2 | 2 | A | HVAC | Negative pressure |  |  | 150000
2 | 1 | All | Plumbing | Replace above ground sewer pipes - Phase I |  | 150000
1 | 2 | Athletics |  | Field House meeting room needs window blinds | 6500 |  | 6500
1 | 3 | Athletics |  | Protective mat for track (football) and turf (graduation) area | 14000 |  |  | 14000
| 1 | Bldg B | Leak | Roof leaks | 4500 | 4500
1 | 1 | Bldg E | Chiller | Replace one chiller barrel (thin walls) | 25000 | 25000
1 | 1 | Campus | Plumbing | Repair eye wash stations (pool, Building A, ….) | 6500 | 6500
2 | 2 | Campus | Elect. | Replace old electrical distribution panels |  |  | 180000
2 | 3 | Campus |  | Switch over to Schlage key system from BEST |  |  |  | 250000
1 | 1 | Child Care | HVAC | Replace two roof top package units | 25000 | 25000
1 | 1 | Child Care | HVAC | Relocate thermostats off of exterior walls | 650 | 650
1 | 1 | Child Care | HVAC | Replace restroom exhaust fans | 3500 | 3500
1 | 1 | Child Care | HVAC | Kitchen needs conditioned make up air | 45000 | 45000
2 | 2 | Child Care | HVAC | Replace HVAC roof package units (mfg 1999) |  |  | 185000
1 | 3 | Child Care | HVAC | Add exhaust to janitors closet | 2200 |  |  | 2200
1 | 3 | Child Care | HVAC | Increase tonnage (now 22.5 and needs to be 27 tons) | 20000 |  |  | 20000
1 | 3 | Child Care | HVAC | Relocate supply & return vents in ceiling for better temp control | 7500 |  |  | 7500
1 | 1 | E | HVAC | Failed VFD for the Central Plant cooling tower | 8500 | 8500 |  |  |  | In progress per DGS
1 | 1 | E | HVAC | VFD replacement for cooling towers | 8500 | 8500 |  |  |  | In progress per DGS
1 | 2 | E | HVAC | Boiler central plant master controller | 3500 |  | 3500
1 | 3 | E | Kitchen | Replace walk-in cooler | 35000 |  |  | 35000
2 | 3 | E | HVAC | Replace chiller |  |  |  | 250000
1 | 1 | F Bldg | HVAC | Replace air handler motor in ceiling | 4300 | 4300
1 | 3 | F Bldg | Safety | Replace air handler cat walk on roof | 6000 |  |  | 6000
1 | 3 | F Bldg | Welding | Repair floor drain in the Welding shop | 1700 |  |  | 1700 |  | Reportedly fixed according to DGS
1 | 1 | Fieldhouse | Doors | Field House doors (front door and interior gym) replacement, center mullion, door closure | 13000 | 13000
1 | 1 | Fieldhouse | Security | Front desk buzzer is not working | 1400 | 1400
2 | 1 | Forum | Roof | Replace roof |  | 540000
1 | 1 | G | HVAC | VFD replacement | 5500 | 5500
1 | 2 | G Bldg | Doors | Replace doors leading to elevator equipment room | 800 |  | 800
1 | 3 | Grounds | Carpenter | Repair hand rails around campus | 4500 |  |  | 4500
3 | 4 | Grounds |  | Repair sidewalk, and sidewalk lights along the canal |  |  |  |  | 120000
1 |  | Labs | Plumbing | Replace lab eye wash stations & lab sink faucets | 12000 |  |  |  |  | (Added after the prioritization process)
1 | 1 | Library | HVAC | VFD replacement | 15000 | 15000
2 | 5 | Pk Lot |  | Add security bollards 1) traffic control 2) protect vehicle charging stations |  |  |  |  | 10000
1 | 1 | Pool | HVAC | Replace all pool heaters | 175000 | 350000
1 | 1 | Pool | System | Replace chlorine generator | 45000 | 45000 |  |  |  | In progress per DGS, yet temporary heater & chlorine generator repairs
1 | 1 | Pool | Covers | Replace pool covers | 30000 | 30000
1 | 3 | Pool | Plumbing | Change out water meter for the pool make up water | 800 |  |  | 800
1 | 3 | Pool | Plumbing | Install larger sump pump in pool pump pit | 4500 |  |  | 4500
1 | 2 | Student Center |  | new ranges/ovens | 36000 |  | 36000
1 | 2 | Student Center |  | hoods, ansal fire repressant system and sinks | 54000 |  | 54000
1 | 3 | Student Services | Appliance | Replace food warmers | 16000 |  |  | 16000
1 | 3 | Student Services | HVAC | Replace kitchen exhaust hood | 15000 |  |  | 15000
1 | 2 | Tennis | Elect. | Repair tennis court lights x2, 20 to 30 amp breaker, christy box, power to one light after camera stole circuit, momentary switch, theft |  |  | 7500
1 | 1 | Theater | HVAC | VFD replacement for 3 air handlers & repair elect. | 15000 | 14500 |  |  |  | in progress per DGS
1 | 1 | Theater |  | Additional funds to complete the stage renovation | 100000 | 100000
1 | 2 | Theater | Equip | New theater man lift (repair or replace) | 14000 |  | 14000
2 | 3 | Theater |  | Upgrade theater stage lighting controls |  |  |  | 125000
1 | 1 | Tower | Elevator | Remove graffiti | 4500 | 4500
1 | 2 | Tower | Health | Replace Health center carpet | 12000 |  | 12000
1 | 2 | Tower |  | Repair concrete step, and bottom edge of building | 6500 |  | 6500
2 | 2 | Tower | Elev | Replace elevators |  |  | 350000
1 | 3 | Tower | Lights | Light controls for the Tower lights | 3500 |  |  | 3500
1 | 2 | Track | Lights | Repair night lights after wire theft (walkways, batting cage, press box) | 4500 |  | 4500
1 | 2 |  | HVAC | Annual PM and repairs on boilers | 12000 |  | 12000
1 | 2 |  | Delta | Coaxial to Cat-6 Upgrades | 3500 |  | 3500
1 | 2 |  | Floor | New floor for cadaver boxes | 12000 |  | 12000
|  |  |  | TOTAL LANEY: | 873350 | 1400350 | 1042300 | 755700 | 130000