## Priority Sum
LANEY COLLEGE FACILITIES PRIORITIES SUMMARY - Spring 2013
Budget Category A - College Wide Facilities Needs
Maintenance
Rank | Deferred | Rank | Preventative | Rank | Ongoing | Rank | Emergency
3 | Replace lights in Library atrium (LIB) & ARCH (G bldg) | 4 | Resurface Breezeways & Infrastructure overhaul | 8 | Repair/replace broken paper towel holders in A building (CHEM) | 1 | Repair/replace water fountains throughout campus (ASLC)
5 | Replace light fixtures where needed in theatre (THEARTS) | 13 | Maintain facilities for safety, security, access for persons with disabilities (CALWORKS) | 9 | Cleaning hard floors and carpets –especially in labs (CHEM, GRART, LIB, ART, MUSIC, PE) | 2 | Secure all new smart classrooms (MUSIC,
7 | Replace work light bulbs backstage and house lights (THEARTS) | 16 | Repair loose vinyl floor tiles in lobby (ARCH) | 10 | Ventilation duct cleaning Library (LIB) | 4 | Repair/replace outdoor lighting for entry to lower A bldg. (GRART)
18 | Deep clean restrooms (LIB) |  |  | 11 | Repair/maintain all radio-controlled clocks in A bldg. (CHEM) | 6 | Replace Library drinking fountains (LIB)
19 | Deep cleaning in most lecture classrooms (SOC SCI Cluster) |  |  | 15 | Ventilation Duct Cleaning - Bldg. F (BUS) | 12 | Yearly Reserve Account (FAC COM)
20 | Clean wood banisters on stairs (LIB) |  |  | 17 | Better & more regular classroom cleaning & repair (ETHIC ST, SOC SCI Cluster, EARTH & HUMAN SCI) | 14 | Repair electrical floor outlets in G239, G240, G241 (ARCH)
21 | Repair and paint damaged walls (TASC) |  |  | 20 | Wash windows and clean blinds (LIB)
General Cleaning (A/ET, DANCE)
Reconstruction
Rank | Reburbish | Rank | Remodel | Rank | Renovate
4 | Repair/replace counterweight system (THEARTS) | 2 | Construct canopy for financial aid and counseling waiting areas | 1 | Student Center (CULIN, ASLC)
5 | Re-surface stage floor (THEARTS) | 3 | Upgrade A/V systems in theatre (THEARTS) | 4 | Create One-Stop Student Services Center (FAC COM)
7 | Refurbish Library elevators from floor to ceiling (LIB) | 6 | Modernize lighting and electrical systems in theatre (THEARTS) | 7 | Theatre Modernization (FAC COM)
9 | HVAC & AC – Bldg A hook up & AC Bldg F, Bldg G (BIOL/CHEM, PHOTO, BUS) | 6 | Remodel 4th floor restrooms in Library (LIB) | 8 | Science Facilities Modernization and Expansion (FAC COM)
10 | Replace ceiling tiles in dressing rooms (THEARTS) | 10 | Convert lecture classrooms to smart classrooms (ETHNIC ST.)
11 | Paint library walls (LIB) | 12 | Two offices: one for Articulation Officer, one for Articulation Technician (ARTICULATION)
14 | Library classroom, L-104 (convert to smart library classroom) | 13 | Remodel Transfer Center
15 | Install ceiling mount for projector in L-104 | 17 | Remodel storage space for class materials & computers (CONMT)
16 | Install drop-down screw in Library Browsing area for events | 18 | Install sink and stove L-110- need plumbing for sink (LIB)
|  | 19 | Remodel office space for dept. chair in A-240 (CONMT)
| Workstation for classified (WEL CENTER) |  | Remodel space into Green Technology Lab (ECT)
New Construction
Rank | Short Term 1-2 years | Rank | Mid Term 2-3 years | Rank | Long Term 3-5 years
1 | Smart Classrooms (LIB, CHIN, FREN, JAP, SPAN, ENG, ESL, HIST, HUMAN, POLI) | 2 | Library/LRC (FAC COM) | 4 | New Science Building (BIOL, CHEM, PHYS
6 | Reinstate design process for new Library | 3 | Counseling re-located to One Stop Student Service Center (COUNS) | 5 | Smart Classrooms, complete service for ALL classrooms (FAC COM)
9 | Installation of overhead projection equipment in all lecture classrooms (SOC SCI Cluster) | 8 | Smart Classrooms (ASAME*, CHIN, FREN, SPAN, COMM) | 7 | Green Tech. Bldg: 4000 sq ft/two-story residential & light com. house as living lab (ECT, E/ET)
10 | Security cameras, alarm systems, and locks (CIS) | 11 | Health Services Center (FAC COM) | 15 | New design & technology building
14 | Dedicated bio manufacturing classroom (BIOL) | 12 | Language Lab (CHIN, FREN, SPAN)
16 | Outdoor Lighting nr driveway & estuary - AC | 13 | Drop-in Computer Lab (CIS)*
Smart Classrooms (list rooms: AC-110 et al)
Budget Category B - Department/Program Facilities Needs
Maintenance
Rank | Deferred | Rank | Preventative | Rank | Ongoing | Rank | Emergency
5 | Repair drains above rooms A152, A154a & A152b (GRART) | 3 | Install class D fire extinguishers in Chemistry labs (CHEM) | 4 | Maintain, inspect, certify fume hoods & chem. storage (CHEM) | 1 | Ventilation for rear of welding lab (WELD)
6 | Replace/repair flooring where needed in Biology and Chemistry (BIOL, CHEM) | 5 | Install additional corrosive chemical storage cabinet A278 (CHEM) | 5 | Repair or replace refrigeration in Cold rooms (BIOL) | 2 | Clean drains in B204 washrooms – hazardous fumes (BIOL)
9 | Replace faulty dishwashers A235B and A278 (CHEM) | 12 | Install more secure locks and cores for all storage rooms TH423 and TH311 (MEDIA) | 9 | Replace air intake filters In the welding lab (WELD) | 6 | Relocate gas cylinder shed storage doors & Widen cage door (WELD)
10 | Replace all indoor and outdoor light bulbs in Art Center (ART) | 12 | Check/replace air handling equip filters in Architecture (AET) | 11 | Check HVAC system in Art Center and repair heating for half of the building (ART) | 7 | Reinstall safety signs in Chemistry (CHEM)
14 | Repair floor tiles and install weather strip G236 (AET) | 12 | Regular maintenance of thermostat (COUNS) | 11 | Maintain floor drains to prevent fume release into classes (GRART) | 7 | Repair gas leak A271 (ANTHR)
16 | Replace broken blinds in B207 (BIOL) | 14 | Replace pool deck, grout/sealers and grates over drains (PE) | 16 | Replace/repair ceiling tiles F202 (BUS) | 8 | Stop leaking from above pipes (WELD)
22 | Repair exterior canopy electrical outlets (CARP) | 15 | Replace double door hardware for security (WELD) | 17 | Repair plumbing (CHEM) | 9 | Repair/ replace safety shower curtain A278 (CHEM)
22 | Cleaning/changing of input air filters (WELD) | 15 | Replace cracked mirrors in fitness center (PE) | 21 | Power-wash pool deck (PE) | 11 | Install weather strips to prevent moisture from entering computer labs (GRART)
22 | Change burned out lights (WELD) | 21 | Upgrade windows (MUSIC) | 21 | Maintain air quality throughout facility (GRART) | 12 | Dangerous floor/wall electrical outlets (MACH TECH)
24 | Power to unpowered electrical jack (JOURN) | 27 | Replace overhead drainpipes in ceilings (GRART) | 21 | Loss prevention measures (security cameras, window bars) (GRART) | 12 | Roof leaks over equipment rm. B120, B150, A192 (ECT)
25 | Replace front door G160 (CARP) | 28 | Roof leaks (E/ET) | 24 | Fix hand wash sink room B-150. (ECT) | 13 | Yearly Reserve Amount (FAC COM)
29 | Replace weather stripping on sliding shop door (CARP) | 30 | Schedule air handler motor oiling, air filter (WELD) | 25 | Routine cleaning of facility: dusting, sweeping, white board cleaning, periodic mopping (GRART) | 13 | Floor electrical access panels- danger of collapse (MACH TECH)
29 | Repair leaky faucets (A/ET) | 33 | Blow out electronics inside welding machines (WELD) | 28 | Refuse removal, soap/paper towels(WELD) | 16 | Install additional corrosive chemical storage cabinet A278 (CHEM)
32 | Repair data cables hanging in A-154 (GRART) | 34 | Adjust motion sensor for lights (BIOL) | 31 | Clean windows, sweep/mop floors (WELD) | 16 | Fix eyewash (CHEM)
36 | Fix ceiling in bio offices (BIOL) | 35 | Floor waxing (WELD) |  |  | 17 | Reinstall emergency night safety lighting ballasts & bulbs (GRART)
[6 empty] | 18 | Ventilation efficiency check (CHEM)
[6 empty] | 18 | Repair or replace refrigeration in Cold rooms (BIOL)
[6 empty] | 19 | Repair women's ADA toilet - AC (ART)
[6 empty] | 20 | Replace old faucets and spigots in Chem labs (CHEM)
[6 empty] | 22 | Repair leaking ceiling/roof (CARP)
[6 empty] | 23 | Repair leaking thermostat (CARP)
[6 empty] | 23 | Fix lights B210 so turn on reliably (BIOL)
[6 empty] | 26 | Replace insulation on cooling system G160 (CARP)
Reconstruction
Rank | Reburbish | Rank | Remodel | Rank | Renovate
5 | Replace old faucets and spigots in Chem labs (CHEM) | 1 | Complete ADA project (BIOL) | 2 | Punchlist for ADA project problems (BIOL)
5 | Install stand-alone ventilation system for 6 welding stations that have none (WELD) | 4 | Fix exhaust hood tensioners from prior construction (WELD) | 3 | Repurpose A152 into 3 modules (GRART, PHOTO)
7 | Repair or replace sinks’ clogged drains or valves in all studios in Art Center (ART) | 4 | Hydraulic Machinery Lab (MACH) G130? | 5 | Renovate A153 & A154 (GRART)
7 | Repair or replace floor drains to prevent fume release into classrooms (GRART) | 6 | Music Computer Lab (MUSIC) G170? | 8 | Renovate all Media department facilities (MEDIA)
8 | Install chalkboard/ whiteboard combo units (CHEM) | 8 | Repurpose facilities for Media and A/V programs (MEDIA) | 9 | Change out entire existing elec. Outlet in B150- safety (ECT)
9 | Install TV mounts in B201 & B202 (BIOL) | 9 | Music Performance hall G189 (MUSIC) | 10 | Add air compressor lines A237, add gas/air lines forum (BIOL)
10 | Modernize Practice Rooms for Sound- proofing & acoustics (MUSIC) | 11 | Convert A152 into 3 classrooms (GRART) | 13 | Re-surface pool deck (PE)
13 | Electrical Outlets (A/ET) | 11 | Electrical, Ventilation, and Compressed Air Upgrades (CHEM) | 14 | Install (4) double arm air filtering units facilitate indoor welding of large sections of pipe (WELD)
15 | Ethernet connection in chem labs (CHEM, PHYSICS) | 12 | Install compressed air source and nitrogen line chem class (CHEM) | 14 | Need more space- industrial maintenance- request G130 currently underutilized (MACH TECH)
15 | Refurnish existing benches w/ new elect. Outlets rm. B120, B123 (E/ET) | 14 | Install water purification A275, steer? lines A277 (CHEM) | 16 | Renovate pool storage areas (PE)
18 | Renovation of lab G271 & attached supply/server for teaching networking courses (CIS) | 16 | Classroom B112 to create a space for 240L students (COSM) | 17 | Chemistry Stockroom flooring (CHEM)
18 | Renovation of lab G271 & attached supply/server for teaching networking courses (CIS) | 18 | Demo BPI Test house (CARP) | 18 | Renovate- add network Ethernet ports, upgrade network back-end in telco. Closet G-213 (JOURN)
19 | Resurface track and field (PE) | 19 | Remodel A-271 (ANTHR) | 19 | Storage Space for Outreach-renovate T100A (STUD SER)
20 | Electric upgrades & Roof repair fitness center (P E) | 22 | Replace windows ? for black out (CHEM) | 21 | Storage space for Dean of Student Support Services-A Bldg. (STUD SERV)
|  | 23 | Complete outstanding punch list items (GRART) |  | Yoga, Pilates, Aerobics Lab (PE)
Power Upgrade (A/ET)
Upgrade lighting (JOURN)
Increase gas line in B150. Existing gas line too small (ECT)
Increase/update elec. Power in shop (MACH TECH)
New Construction
Rank | Short Term 1-2 years | Rank | Mid Term 2-3 years | Rank | Long Term 3-5 years
2 | Modernize electrical lab with more power and new equip (EET) | 3 | Lab stations & Lab prep space (BIOL/BIOMan) | 1 | Build restrooms for lower G bldg. (MUSIC)
4 | Modernize B150 into ECT lab (ECT) | 4 | Lecture rooms (BIOL/CHEM/PHYS) | 9 | Enclose area near pool office to create a small classroom on pool deck (PE)
12 | New storage areas for pool and gymnasium (PE) | 5 | Establish TRiO Center (TRiO) |  | Larger swimming pool (P E)
12 | Add new practice rooms (MUSIC) | 5 | Establish Puente Center (PUENTE)
12 | Smart classroom (JOURN) | 6 | Instructional computer labs (BIOL/CHEM/PHYS)
13 | Build warehouse/shop (CARP) | 7 | Establish new Latino Center (SPAN)
14 | Add Darkroom/Washroom Ventilation – AC100 (ART) | 7 | New science bldg. (CHEM, BIO, BIOMAN, PHYS)
16 | Add new storage space (MUSIC) | 8 | Establish AANAPISI Center (APASS)
17 | Fence for recycling container and flat bed (WELD) | 10 | Dedicated labs for earth science lab classes (GEOLOGY, GEOGRAPHY, PHYS SCI, EARTH & HUMAN SCI)
19 | Larger gymnasium and locker rooms (PE) | 11 | Permanent offices for Workability (DSPS)
20 | Install water faucet G160 (CARP) | 13 | Dedicated large lecture room for earth sci. lecture classes (EARTH & HUMAN SCI)
21 | Dedicated bio manufacturing classroom (BIOL) | 15 | Second Dance studio (DANCE)
|  | 18 | Accounting lab (BUS)
|  | 21 | Additional large classroom lab for CIS (CIS)
The Facilities Planning Committee reviewed all facilities requests expressed in the department Program Reviews, Program Updates, Unit Plans, committee meetings, or other planning documents. Based on the wide range of requests the committee organized the facilities needs into categories using the following tables. The projects are numbered in order of priority. Duplicate Ranks are due to Equal Scoring.
KEY: Black font represents Spring 2010 priorities.
Green font signifies new requests prioritized in Fall 2011.
Red font signifies new requests prioritized Spring 2011.
Purple font represents Spring 2013 priorities.

## Responsibility Breakdown
LANEY COLLEGE FACILITIES PRIORITIES SUMMARY - Spring 2013
Area of Responsibility Breakdown
The Facilities Planning Committee reviewed all facilities requests expressed in the department Program Reviews, Program Updates, Unit Plans, committee meetings, or other planning documents. The wide range of requests were then organized by the committee into categories of maintenance, reconstruction, and new construction. In this process, there were a number of issues that were directly related to custodial and engineering expertise and scope of work. This list covers these projects and are listed according to rankings developed in various groupings from within the initial facilities prioritization process. Duplicate Ranks are due to Equal Scoring.
KEY: Black font represents Spring 2010 priorities.
Green font signifies new requests prioritized in Fall 2011.
Red font signifies new requests prioritized Spring 2011.
Purple font represents Spring 2013 priorities.
CUSTODIAL DEPARTMENT
Rank | Description | Type (1=Cust/ 2=Eng/ 3=Dist) | Complete?
2 | Clean drains in B204 washrooms – hazardous fumes (BIOL) | 1
9 | Cleaning hard floors and carpets –especially in labs (CHEM, GRART, LIB, ART, MUSIC, PE) | 1
10 | Ventilation duct cleaning Library (LIB) | 1
15 | Ventilation Duct Cleaning - Bldg. F (BUS) | 1
17 | Better & more regular classroom cleaning & repair (ETHIC ST, SOC SCI Cluster, EARTH & HUMAN SCI) | 1
18 | Deep clean restrooms (LIB) | 1
19 | Deep cleaning in most lecture classrooms (SOC SCI Cluster) | 1
20 | Clean wood banisters on stairs (LIB) | 1
20 | Wash windows and clean blinds (LIB) | 1
21 | Power-wash pool deck (PE) | 1
22 | Cleaning/changing of input air filters (WELD) | 1
25 | Routine cleaning of facility: dusting, sweeping, white board cleaning, periodic mopping (GRART) | 1
28 | Refuse removal, soap/paper towels(WELD) | 1
31 | Clean windows, sweep/mop floors (WELD) | 1
35 | Floor waxing (WELD) | 1
| General Cleaning (A/ET, DANCE) | 1
ENGINEERING DEPARTMENT
Rank | Description | Type (1=Cust/ 2=Eng/ 3=Dist) | Complete?
1 | Repair/replace water fountains throughout campus (ASLC) | 2
3 | Replace lights in Library atrium (LIB) & ARCH (G bldg) | 2
4 | Repair/replace outdoor lighting for entry to lower A bldg. (GRART) | 2
4 | Fix exhaust hood tensioners from prior construction (WELD) | 2
5 | Replace light fixtures where needed in theatre (THEARTS) | 2
5 | Replace old faucets and spigots in Chem labs (CHEM) | 2
6 | Replace Library drinking fountains (LIB) | 2
7 | Replace work light bulbs backstage and house lights (THEARTS) | 2
7 | Reinstall safety signs in Chemistry (CHEM) | 2
7 | Repair or replace sinks’ clogged drains or valves in all studios in Art Center (ART) | 2
7 | Repair or replace floor drains to prevent fume release into classrooms (GRART) | 2
8 | Repair/replace broken paper towel holders in A building (CHEM) | 2
8 | Stop leaking from above pipes (WELD) | 2
9 | HVAC & AC – Bldg A hook up & AC Bldg F, Bldg G (BIOL/CHEM, PHOTO, BUS) | 2
9 | Replace air intake filters In the welding lab (WELD) | 2
9 | Repair/ replace safety shower curtain A278 (CHEM) | 2
9 | Change out entire existing elec. Outlet in B150- safety (ECT) | 2
10 | Replace ceiling tiles in dressing rooms (THEARTS) | 2
10 | Replace all indoor and outdoor light bulbs in Art Center (ART) | 2
11 | Repair/maintain all radio-controlled clocks in A bldg. (CHEM) | 2
11 | Paint library walls (LIB) | 2
11 | Maintain floor drains to prevent fume release into classes (GRART) | 2
11 | Install weather strips to prevent moisture from entering computer labs (GRART) | 2
12 | Install more secure locks and cores for all storage rooms TH423 and TH311 (MEDIA) | 2
12 | Check/replace air handling equip filters in Architecture (AET) | 2
12 | Regular maintenance of thermostat (COUNS) | 2
12 | Dangerous floor/wall electrical outlets (MACH TECH) | 2
13 | Floor electrical access panels- danger of collapse (MACH TECH) | 2
14 | Repair electrical floor outlets in G239, G240, G241 (ARCH) | 2
14 | Repair floor tiles and install weather strip G236 (AET) | 2
14 | Replace pool deck, grout/sealers and grates over drains (PE) | 2
15 | Install ceiling mount for projector in L-104 | 2
15 | Replace double door hardware for security (WELD) | 2
16 | Repair loose vinyl floor tiles in lobby (ARCH) | 2
16 | Install drop-down screw in Library Browsing area for events | 2
16 | Replace broken blinds in B207 (BIOL) | 2
16 | Replace/repair ceiling tiles F202 (BUS) | 2
16 | Fix eyewash (CHEM) | 2
17 | Repair plumbing (CHEM) | 2
17 | Reinstall emergency night safety lighting ballasts & bulbs (GRART) | 2
18 | Ventilation efficiency check (CHEM) | 2
19 | Repair women's ADA toilet - AC (ART) | 2
20 | Replace old faucets and spigots in Chem labs (CHEM) | 2
21 | Repair and paint damaged walls (TASC) | 2
21 | Maintain air quality throughout facility (GRART) | 2
22 | Repair exterior canopy electrical outlets (CARP) | 2
22 | Change burned out lights (WELD) | 2
23 | Repair leaking thermostat (CARP) | 2
23 | Fix lights B210 so turn on reliably (BIOL) | 2
24 | Power to unpowered electrical jack (JOURN) | 2
24 | Fix hand wash sink room B-150. (ECT) | 2
26 | Replace insulation on cooling system G160 (CARP) | 2
29 | Replace weather stripping on sliding shop door (CARP) | 2
29 | Repair leaky faucets (A/ET) | 2
30 | Schedule air handler motor oiling, air filter (WELD) | 2
32 | Repair data cables hanging in A-154 (GRART) | 2
33 | Blow out electronics inside welding machines (WELD) | 2
34 | Adjust motion sensor for lights (BIOL) | 2
36 | Fix ceiling in bio offices (BIOL) | 2
DISTRICT/ OUTSIDE CONTRACTORS
Rank | Description | Type (1=Cust/ 2=Eng/ 3=Dist) | Complete?
1 | Student Center (CULIN, ASLC) | 3
1 | Smart Classrooms (LIB, CHIN, FREN, JAP, SPAN, ENG, ESL, HIST, HUMAN, POLI) | 3
1 | Ventilation for rear of welding lab (WELD) | 3
1 | Complete ADA project (BIOL) | 3
1 | Build restrooms for lower G bldg. (MUSIC) | 3
2 | Secure all new smart classrooms (MUSIC, | 3
2 | Construct canopy for financial aid and counseling waiting areas | 3
2 | Punchlist for ADA project problems (BIOL) | 3
2 | Modernize electrical lab with more power and new equip (EET) | 3
3 | Upgrade A/V systems in theatre (THEARTS) | 3
3 | Install class D fire extinguishers in Chemistry labs (CHEM) | 3
3 | Repurpose A152 into 3 modules (GRART, PHOTO) | 3
3 | Lab stations & Lab prep space (BIOL/BIOMan) | 3
4 | Resurface Breezeways & Infrastructure overhaul | 3
4 | Repair/replace counterweight system (THEARTS) | 3
4 | Create One-Stop Student Services Center (FAC COM) | 3
4 | Maintain, inspect, certify fume hoods & chem. storage (CHEM) | 3
4 | Hydraulic Machinery Lab (MACH) G130? | 3
4 | Modernize B150 into ECT lab (ECT) | 3
4 | Lecture rooms (BIOL/CHEM/PHYS) | 3
5 | Re-surface stage floor (THEARTS) | 3
5 | Repair drains above rooms A152, A154a & A152b (GRART) | 3
5 | Install additional corrosive chemical storage cabinet A278 (CHEM) | 3
5 | Repair or replace refrigeration in Cold rooms (BIOL) | 3
5 | Install stand-alone ventilation system for 6 welding stations that have none (WELD) | 3
5 | Renovate A153 & A154 (GRART) | 3
5 | Establish TRiO Center (TRiO) | 3
5 | Establish Puente Center (PUENTE) | 3
6 | Modernize lighting and electrical systems in theatre (THEARTS) | 3
6 | Remodel 4th floor restrooms in Library (LIB) | 3
6 | Reinstate design process for new Library | 3
6 | Replace/repair flooring where needed in Biology and Chemistry (BIOL, CHEM) | 3
6 | Relocate gas cylinder shed storage doors & Widen cage door (WELD) | 3
6 | Music Computer Lab (MUSIC) G170? | 3
6 | Instructional computer labs (BIOL/CHEM/PHYS) | 3
7 | Refurbish Library elevators from floor to ceiling (LIB) | 3
7 | Theatre Modernization (FAC COM) | 3
7 | Repair gas leak A271 (ANTHR) | 3
7 | Establish new Latino Center (SPAN) | 3
7 | New science bldg. (CHEM, BIO, BIOMAN, PHYS) | 3
8 | Science Facilities Modernization and Expansion (FAC COM) | 3
8 | Install chalkboard/ whiteboard combo units (CHEM) | 3
8 | Repurpose facilities for Media and A/V programs (MEDIA) | 3
8 | Renovate all Media department facilities (MEDIA) | 3
8 | Establish AANAPISI Center (APASS) | 3
9 | Installation of overhead projection equipment in all lecture classrooms (SOC SCI Cluster) | 3
9 | Replace faulty dishwashers A235B and A278 (CHEM) | 3
9 | Install TV mounts in B201 & B202 (BIOL) | 3
9 | Music Performance hall G189 (MUSIC) | 3
9 | Enclose area near pool office to create a small classroom on pool deck (PE) | 3
10 | Convert lecture classrooms to smart classrooms (ETHNIC ST.) | 3
10 | Security cameras, alarm systems, and locks (CIS) | 3
10 | Modernize Practice Rooms for Sound- proofing & acoustics (MUSIC) | 3
10 | Add air compressor lines A237, add gas/air lines forum (BIOL) | 3
10 | Dedicated labs for earth science lab classes (GEOLOGY, GEOGRAPHY, PHYS SCI, EARTH & HUMAN SCI) | 3
11 | Check HVAC system in Art Center and repair heating for half of the building (ART) | 3
11 | Convert A152 into 3 classrooms (GRART) | 3
11 | Electrical, Ventilation, and Compressed Air Upgrades (CHEM) | 3
11 | Permanent offices for Workability (DSPS) | 3
12 | Yearly Reserve Account (FAC COM) | 3
12 | Two offices: one for Articulation Officer, one for Articulation Technician (ARTICULATION) | 3
12 | Roof leaks over equipment rm. B120, B150, A192 (ECT) | 3
12 | Install compressed air source and nitrogen line chem class (CHEM) | 3
12 | New storage areas for pool and gymnasium (PE) | 3
12 | Add new practice rooms (MUSIC) | 3
12 | Smart classroom (JOURN) | 3
13 | Maintain facilities for safety, security, access for persons with disabilities (CALWORKS) | 3
13 | Remodel Transfer Center | 3
13 | Yearly Reserve Amount (FAC COM) | 3
13 | Electrical Outlets (A/ET) | 3
13 | Re-surface pool deck (PE) | 3
13 | Build warehouse/shop (CARP) | 3
13 | Dedicated large lecture room for earth sci. lecture classes (EARTH & HUMAN SCI) | 3
14 | Library classroom, L-104 (convert to smart library classroom) | 3
14 | Dedicated bio manufacturing classroom (BIOL) | 3
14 | Install water purification A275, steer? lines A277 (CHEM) | 3
14 | Install (4) double arm air filtering units facilitate indoor welding of large sections of pipe (WELD) | 3
14 | Need more space- industrial maintenance- request G130 currently underutilized (MACH TECH) | 3
14 | Add Darkroom/Washroom Ventilation – AC100 (ART) | 3
15 | Replace cracked mirrors in fitness center (PE) | 3
15 | Ethernet connection in chem labs (CHEM, PHYSICS) | 3
15 | Refurnish existing benches w/ new elect. Outlets rm. B120, B123 (E/ET) | 3
15 | Second Dance studio (DANCE) | 3
16 | Outdoor Lighting nr driveway & estuary - AC | 3
16 | Install additional corrosive chemical storage cabinet A278 (CHEM) | 3
16 | Classroom B112 to create a space for 240L students (COSM) | 3
16 | Renovate pool storage areas (PE) | 3
16 | Add new storage space (MUSIC) | 3
17 | Remodel storage space for class materials & computers (CONMT) | 3
17 | Chemistry Stockroom flooring (CHEM) | 3
17 | Fence for recycling container and flat bed (WELD) | 3
18 | Install sink and stove L-110- need plumbing for sink (LIB) | 3
18 | Repair or replace refrigeration in Cold rooms (BIOL) | 3
18 | Renovation of lab G271 & attached supply/server for teaching networking courses (CIS) | 3
18 | Renovation of lab G271 & attached supply/server for teaching networking courses (CIS) | 3
18 | Demo BPI Test house (CARP) | 3
18 | Renovate- add network Ethernet ports, upgrade network back-end in telco. Closet G-213 (JOURN) | 3
18 | Accounting lab (BUS) | 3
19 | Remodel office space for dept. chair in A-240 (CONMT) | 3
19 | Resurface track and field (PE) | 3
19 | Remodel A-271 (ANTHR) | 3
19 | Storage Space for Outreach-renovate T100A (STUD SER) | 3
19 | Larger gymnasium and locker rooms (PE) | 3
20 | Electric upgrades & Roof repair fitness center (P E) | 3
20 | Install water faucet G160 (CARP) | 3
21 | Upgrade windows (MUSIC) | 3
21 | Loss prevention measures (security cameras, window bars) (GRART) | 3
21 | Storage space for Dean of Student Support Services-A Bldg. (STUD SERV) | 3
21 | Dedicated bio manufacturing classroom (BIOL) | 3
21 | Additional large classroom lab for CIS (CIS) | 3
22 | Repair leaking ceiling/roof (CARP) | 3
22 | Replace windows ? for black out (CHEM) | 3
23 | Complete outstanding punch list items (GRART) | 3
25 | Replace front door G160 (CARP) | 3
27 | Replace overhead drainpipes in ceilings (GRART) | 3
28 | Roof leaks (E/ET) | 3
| Remodel space into Green Technology Lab (ECT) | 3
| Power Upgrade (A/ET) | 3
| Upgrade lighting (JOURN) | 3
| Increase gas line in B150. Existing gas line too small (ECT) | 3
| Increase/update elec. Power in shop (MACH TECH) | 3
| Yoga, Pilates, Aerobics Lab (PE) | 3
| Larger swimming pool (P E) | 3

## Ranks
HVAC & AC – Bldg A hook up & AC Bldg F, Bldg G (BIOL/CHEM, PHOTO, BUS) | Paint library walls (LIB) | Refurbish Library elevators from floor to ceiling (LIB) | Re-surface stage floor (THEARTS) | Replace ceiling tiles in dressing rooms (THEARTS) | Repair/replace counterweight system (THEARTS) | Install ceiling mount for projector in L-104 | Install drop-down screw in Library Browsing area for events | Library classroom, L-104 (convert to smart library classroom)
16 | 14 | 16 | 16 | 13 | 16 | 12 | 13 | 13
| 14 | 16 | 20 | 16 | 20 | 5 | 5 | 5
[6 empty] | 13 | 10 | 11
10 | 10 | 20 | 18 | 15 | 20 | 9 | 9 | 13
14 | 20 | 20 | 20 | 20 | 20 | 19 | 19 | 19
20 | 14 | 18 | 20 | 19 | 20 | 12 | 12 | 13
14 | 11 | 11 | 12 | 6 | 11 | 6 | 5 | 9
74 | 83 | 101 | 106 | 89 | 107 | 76 | 73 | 83
76% | 68% | 82% | 85% | 72% | 86% | 54% | 52% | 59%
9 | 11 | 7 | 5 | 10 | 4 | 15 | 16 | 14

## Emerg
LANEY COLLEGE PRIORITY SUMMARY - SPRING 2013
EMERGENCY CATEGORY
MAINTENANCE - COLLEGE WIDE (Category A)
Rank | Emergency
1 | Repair/replace water fountains throughout campus (ASLC)
2 | Secure all new smart classrooms (MUSIC,
4 | Repair/replace outdoor lighting for entry to lower A bldg. (GRART)
6 | Replace Library drinking fountains (LIB)
12 | Yearly Reserve Account (FAC COM)
14 | Repair electrical floor outlets in G239, G240, G241 (ARCH)
MAINTENANCE - DEPARTMENTAL (Category B)
Rank | Emergency
1 | Ventilation for rear of welding lab (WELD)
2 | Clean drains in B204 washrooms – hazardous fumes (BIOL)
6 | Relocate gas cylinder shed storage doors & Widen cage door (WELD)
7 | Reinstall safety signs in Chemistry (CHEM)
7 | Repair gas leak A271 (ANTHR)
8 | Stop leaking from above pipes (WELD)
9 | Repair/ replace safety shower curtain A278 (CHEM)
11 | Install weather strips to prevent moisture from entering computer labs (GRART)
12 | Dangerous floor/wall electrical outlets (MACH TECH)
12 | Roof leaks over equipment rm. B120, B150, A192 (ECT)
13 | Yearly Reserve Amount (FAC COM)
13 | Floor electrical access panels- danger of collapse (MACH TECH)
16 | Install additional corrosive chemical storage cabinet A278 (CHEM)
16 | Fix eyewash (CHEM)
17 | Reinstall emergency night safety lighting ballasts & bulbs (GRART)
18 | Ventilation efficiency check (CHEM)
18 | Repair or replace refrigeration in Cold rooms (BIOL)
19 | Repair women's ADA toilet - AC (ART)
20 | Replace old faucets and spigots in Chem labs (CHEM)
22 | Repair leaking ceiling/roof (CARP)
23 | Repair leaking thermostat (CARP)
23 | Fix lights B210 so turn on reliably (BIOL)
26 | Replace insulation on cooling system G160 (CARP)